Mini Free Air Carbon Enrichment Experiment

To create a mini Free-Air Carbon Enrichment (FACE) experiment. You will need:

- LabQuest mini

- CO2 sensor

- Bottle

- Leaves

- Lamp

- Damp tissue paper

- Connect your LabQuest mini to your PC/laptop

- Connect the CO2 meter to channel on LabQuest Mini

- Click on free icon or desk top labeled ' CO2 '

- Click on the tree 'collect’, button

- Select 'erase and continue'

- Data will now be collected, adjust the X and Y axis to show the best picture.

- Clicking on the axis brings up a menu to allow manual adjustment, or you can slide and expand/contract using the touch paid and cursor.

- Best display focuses at high resolution on the most recent data collected. Wider view can show broader trends.

- Put three holly leaves in the bottle with the lower surfaces exposed to the air ( e.g. face down)

- Also put in some damp tissue paper.

- Clamp the bottle and insert the CO2 meter

- Check that CO2 is above 1000ppm (photosynthesis is slower at low external CO2)

- If not blow gently into the bottle

- Illuminate the leaves and CO2 levels should begin to drop.

- When you have a clear trend switch off lights and cover the bottle, respiration should quickly begin to raise cow levels.